## Sheet1
id | register | name | description | system_category | category | view | sampling | read | write | minvalue | maxvalue | unit | offset | addition | mask | value | length | general_icon | alarm | metadata | l10n | tags | type | parameter_write_byte_position | mqtt | json | current_value | current_error_status | notes
1 | 0 | CONTROL_AGUA | StandBy=0 / AUTO=1 | COMMAND | PROCESO_AGUA | simple | 0 | 0 | 6 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
2 | 1 | NIVEL_DEPÓSITO |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 100 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
3 | 2 | SP_PRESION_BOMBAS |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
4 | 4 | SP_PRESIÓN_ENFRIADORAS |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
5 | 6 | SP_FRIO |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
6 | 8 | SP_REAJUSTE_FRIO |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
7 | 10 | SP_ALARMA_PRESIÓN_LLENADO |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
8 | 12 | NIVEL_MAX_DEPÓSITO |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 100 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
9 | 14 | NIVEL_INICIO_MARCHA |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 100 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
10 | 16 | NIVEL_DESACT_LLENADO |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 100 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
11 | 18 | NIVEL_ACT_LLENADO |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 100 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
12 | 20 | NIVEL MINIMO |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 100 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
13 | 22 | P_DIFF_P8P7 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
14 | 24 | P_DIFF_P9P10 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
15 | 26 | P_DIFF_P4P3 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
16 | 28 | P_DIFF_P5P6 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
17 | 30 | SP_AVISO_P_DIFF_INTERCAMBIADOR |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
18 | 32 | SP_ALARMA_P_DIFF_INTERCAMBIADOR |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
19 | 34 | TPO_ALARMA_P_DIFF_INTERCAMBIADOR |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
20 | 36 | P_DIFF_P11P9 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
21 | 38 | P_DIFF_P11P5 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
22 | 40 | P_DIFF_P12P8 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
23 | 42 | P_DIFF_P12P4 |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
24 | 44 | SP_AVISO_P_DIFF_FILTRO_INTERCAMBIADOR |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
25 | 46 | SP_ALARMA_P_DIFF_FILTRO_INTERCAMBIADOR |  | SET_POINT | PROCESO_AGUA | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
26 | 48 | TPO_ALARMA_P_DIFF_FILTRO_INTERCAMBIADOR |  | CONFIG_PARAMETER | PROCESO_AGUA | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
27 | 50 | CONTROL_AIRE |  | COMMAND | PROCESO_AIRE | simple | 0 | 0 | 6 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
28 | 51 | CONSIGNA_AIRE |  | SET_POINT | PROCESO_AIRE | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
29 | 53 | AJUSTE_SUPERIOR_AIRE |  | CONFIG_PARAMETER | PROCESO_AIRE | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
30 | 55 | AJUSTE_INFERIOR_AIRE |  | CONFIG_PARAMETER | PROCESO_AIRE | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
31 | 57 | SP_VERANO/INVIERNO |  | SET_POINT | PROCESO_AIRE | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
32 | 59 | OFFSET_VERANO/INVIERNO |  | CONFIG_PARAMETER | PROCESO_AIRE | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
33 | 61 | SP_VENTILACIÓN |  | SET_POINT | PROCESO_AIRE | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
34 | 63 | OFFSET_VENTILACIÓN |  | CONFIG_PARAMETER | PROCESO_AIRE | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
35 | 65 | CONSIGNA_9 |  | SET_POINT | PROCESO_AIRE | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
36 | 67 | CONSIGNA_10 |  | SET_POINT | PROCESO_AIRE | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
37 | 69 | CONSIGNA_11 |  | SET_POINT | PROCESO_AIRE | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
38 | 71 | CONSIGNA_12 |  | SET_POINT | PROCESO_AIRE | simple | 300 | 3 | 6 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
39 | 73 | RESERVA_1 |  | CONFIG_PARAMETER | PROCESO_GENERAL | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
40 | 75 | RESERVA_2 |  | CONFIG_PARAMETER | PROCESO_GENERAL | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
41 | 77 | RESERVA_3 |  | CONFIG_PARAMETER | PROCESO_GENERAL | simple | 0 | 1 | 5 | 0 | 9999 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
42 | 79 | COMPRESOR_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
43 | 80 | COMPRESOR_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
44 | 81 | SECADOR_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
45 | 82 | SECADOR_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
46 | 83 | ENFRIADORA_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
47 | 84 | ENFRIADORA_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
48 | 85 | BOMBA_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
49 | 86 | BOMBA_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
50 | 87 | BOMBA_3 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
51 | 88 | BOMBA_4 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
52 | 89 | BOMBA_5 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
53 | 90 | BOMBA_6 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
54 | 91 | BOMBA_7 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
55 | 92 | VENTILACION_AMBIENTE |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
56 | 93 | ENFRIADORA_3 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
57 | 94 | ENFRIADORA_4 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
58 | 95 | COMPUERTA_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
59 | 96 | COMPUERTA_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
60 | 97 | COMPUERTA_3 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
61 | 98 | COMPUERTA_4 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
62 | 99 | INTERCAMBIADOR_1_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
63 | 100 | INTERCAMBIADOR_1_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
64 | 101 | INTERCAMBIADOR_2_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
65 | 102 | INTERCAMBIADOR_2_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
66 | 103 | VALVULA_SECADOR_1 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
67 | 104 | VALVULA_SECADOR_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
68 | 105 | VALVULA_LLENADO |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
69 | 106 | RESERVA_1_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
70 | 107 | RESERVA_2_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
71 | 108 | RESERVA_3_2 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
72 | 109 | RESERVA_4 |  | DIGITAL_OUTPUT | CONTROL_EQUIPOS | simple | 0 | 1 | 5 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
73 | 110 | PRESION_P1 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
74 | 112 | PRESION_P2 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
75 | 114 | TEMP_AMBIENTE_T1 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | -270 | 270 | ºC | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
76 | 116 | CAUDALIMETRO_TOTQAC |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
77 | 118 | CAUDALIMETRO_QAC |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
78 | 120 | CAUDALIMETRO_TQAC |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
79 | 122 | CAUDALIMETRO_PQAC |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
80 | 124 | PRESION_P3 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
81 | 126 | PRESION_P4 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
82 | 128 | PRESION_P5 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
83 | 130 | PRESION_P6 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
84 | 132 | PRESION_P7 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
85 | 134 | PRESION_P8 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
86 | 136 | PRESION_P9 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
87 | 138 | PRESION_P10 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
88 | 140 | PRESION_P11 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
89 | 142 | TEMPERATURA_T1 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | -270 | 270 | ºC | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
90 | 144 | CAUDALIMETRO_Q1 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
91 | 146 | CAUDALIMETRO_TQ1 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
92 | 148 | TEMPERATURA_T2 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | -270 | 270 | ºC | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
93 | 150 | PRESION_P12 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
94 | 152 | CAUDALIMETRO_Q2 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
95 | 154 | CAUDALIMETRO_TQ2 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
96 | 156 | PRESION_P13 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
97 | 158 | PRESION_P14 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | bar | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
98 | 160 | CAUDALIMETRO_TOTQ3 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
99 | 162 | CAUDALIMETRO_Q3 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
100 | 164 | CAUDALIMETRO_TQ3 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
101 | 166 | CAUDALIMETRO_Q4 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
102 | 168 | CAUDALIMETRO_TQ4 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
103 | 170 | CAUDALIMETRO_Q5 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
104 | 172 | CAUDALIMETRO_TQ5 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
105 | 174 | CAUDALIMETRO_Q6 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
106 | 176 | CAUDALIMETRO_TQ6 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
107 | 178 | CAUDALIMETRO_Q7 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
108 | 180 | CAUDALIMETRO_TQ7 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
109 | 182 | CAUDALIMETRO_TOTQ8 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
110 | 184 | CAUDALIMETRO_Q8 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
111 | 186 | CAUDALIMETRO_TQ8 |  | ANALOG_OUTPUT | ANALOGICAS | simple | 0 | 3 | 0 | 0 | 9999 | m3/s | 0 | 0 | 0x0 | 0 | s16 |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
112 | 188 | COMPRESOR_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
113 | 189 | COMPRESOR_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
114 | 190 | SECADOR_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
115 | 191 | SECADOR_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
116 | 192 | ENFRIADORA_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
117 | 193 | ENFRIADORA_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
118 | 194 | BOMBA_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
119 | 195 | BOMBA_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
120 | 196 | BOMBA_3_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
121 | 197 | BOMBA_4_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
122 | 198 | BOMBA_5_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
123 | 199 | BOMBA_6_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
124 | 200 | BOMBA_7_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
125 | 201 | VENTILACION_AMBIENTE_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
126 | 202 | ENFRIADORA_3_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
127 | 203 | ENFRIADORA_4_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
128 | 204 | COMPUERTA_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
129 | 205 | COMPUERTA_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
130 | 206 | COMPUERTA_3_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
131 | 207 | COMPUERTA_4_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
132 | 208 | INTERCAMBIADOR_1_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
133 | 209 | INTERCAMBIADOR_1_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
134 | 210 | INTERCAMBIADOR_2_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
135 | 211 | INTERCAMBIADOR_2_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
136 | 212 | VALVULA_SECADOR_1_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
137 | 213 | VALVULA_SECADOR_2_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
138 | 214 | VALVULA_LLENADO_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
139 | 215 | RESERVA_1_3 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
140 | 216 | RESERVA_2_3 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
141 | 217 | RESERVA_3_3 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
142 | 218 | RESERVA_4_2 |  | STATUS | ESTADO_EQUIPOS | basic | 60 | 4 | 0 | 0 | 1 |  | 0 | 0 | 0x0 | 0 | f32cdab |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
143 | 219 | AL_0 | AL 0 - SEG_OK | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
144 | 219 | AL_1 | AL 1 - 24VDC_EXT_OK | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
145 | 219 | AL_2 | AL 2 - PROT_230_AUX | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
146 | 219 | AL_3 | AL 3 - PROT_SKID_1_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x8 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
147 | 219 | AL_4 | AL 4 - PROT_SKID_1_2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x10 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
148 | 219 | AL_5 | AL 5 - PROT_SKID_A2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x20 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
149 | 219 | AL_6 | AL 6 - PROT_SKID_4_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x40 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
150 | 219 | AL_7 | AL 7 - PROT_SEPARADOR | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x80 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
151 | 219 | AL_8 | AL 8 - PROT_PC1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x100 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
152 | 219 | AL_9 | AL 9 - PROT_PC2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x200 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
153 | 219 | AL_10 | AL 10 - RESERVA | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x400 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
154 | 219 | AL_11 | AL 11 - ALARMA DEFECTO ACTIVO COMPRESOR_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x800 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
155 | 219 | AL_12 | AL 12 - ALARMA DEFECTO ACTIVO COMPRESOR_2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
156 | 219 | AL_13 | AL 13 - ALARMA DEFECTO ACTIVO SECADOR_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
157 | 219 | AL_14 | AL 14 - ALARMA DEFECTO ACTIVO SECADOR_2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
158 | 219 | AL_15 | AL 15 - ALARMA DEFECTO ACTIVO ENFRIADORA_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x8000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
159 | 220 | AL_16 | AL 16 - ALARMA DEFECTO ACTIVO ENFRIADORA_2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
160 | 220 | AL_17 | AL 17 - ALARMA DEFECTO ACTIVO BOMBA_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
161 | 220 | AL_18 | AL 18 - ALARMA DEFECTO ACTIVO BOMBA_2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
162 | 220 | AL_19 | AL 19 - ALARMA DEFECTO ACTIVO BOMBA_3 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x8 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
163 | 220 | AL_20 | AL 20 - ALARMA DEFECTO ACTIVO BOMBA_4 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x10 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
164 | 220 | AL_21 | AL 21 - ALARMA DEFECTO ACTIVO BOMBA_5 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x20 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
165 | 220 | AL_22 | AL 22 - ALARMA DEFECTO ACTIVO BOMBA_6 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x40 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
166 | 220 | AL_23 | AL 23 - ALARMA DEFECTO ACTIVO BOMBA_7 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x80 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
167 | 220 | AL_24 | AL 24 - ALARMA DEFECTO ACTIVO VENTILACION_AMBIENTE | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x100 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
168 | 220 | AL_25 | AL 25 - ALARMA DEFECTO ACTIVO ENFRIADORA_3 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x200 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
169 | 220 | AL_26 | AL 26 - ALARMA DEFECTO ACTIVO ENFRIADORA_4 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x400 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
170 | 220 | AL_27 | AL 27 - ALARMA DEFECTO ACTIVO COMPUERTA_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x800 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
171 | 220 | AL_28 | AL 28 - ALARMA DEFECTO ACTIVO COMPUERTA_2 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
172 | 220 | AL_29 | AL 29 - ALARMA DEFECTO ACTIVO COMPUERTA_3 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
173 | 220 | AL_30 | AL 30 - ALARMA DEFECTO ACTIVO COMPUERTA_4 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
174 | 220 | AL_31 | AL 31 - ALARMA DEFECTO ACTIVO INTERCAMBIADOR_1_1 | ALARM | ALARMAS_1 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x8000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
175 | 221 | AL_32 | AL 32 - ALARMA DEFECTO ACTIVO INTERCAMBIADOR_1_2 | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
176 | 221 | AL_33 | AL 33 - ALARMA DEFECTO ACTIVO INTERCAMBIADOR_2_1 | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
177 | 221 | AL_34 | AL 34 - ALARMA DEFECTO ACTIVO INTERCAMBIADOR_2_2 | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
178 | 221 | AL_35 | AL 35 - ALARMA DEFECTO ACTIVO VALVULA_SECADOR_1 | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x8 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
179 | 221 | AL_36 | AL 36 - ALARMA DEFECTO ACTIVO VALVULA_SECADOR_2 | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x10 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
180 | 221 | AL_37 | AL 37 - ALARMA DEFECTO ACTIVO VALVULA_LLENADO | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x20 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
181 | 221 | AL_38 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x40 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
182 | 221 | AL_39 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x80 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
183 | 221 | AL_40 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x100 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
184 | 221 | AL_41 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x200 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
185 | 221 | AL_42 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x400 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
186 | 221 | AL_43 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x800 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
187 | 221 | AL_44 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
188 | 221 | AL_45 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
189 | 221 | AL_46 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
190 | 221 | AL_47 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x8000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
191 | 222 | AL_48 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
192 | 222 | AL_49 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
193 | 222 | AL_50 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
194 | 222 | AL_51 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x8 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
195 | 222 | AL_52 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x10 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
196 | 222 | AL_53 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x20 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
197 | 222 | AL_54 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x40 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
198 | 222 | AL_55 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x80 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
199 | 222 | AL_56 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x100 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
200 | 222 | AL_57 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x200 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
201 | 222 | AL_58 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x400 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
202 | 222 | AL_59 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x800 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
203 | 222 | AL_60 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x1000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
204 | 222 | AL_61 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x2000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
205 | 222 | AL_62 |  | ALARM | ALARMAS_2 | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0x4000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
206 | 222 | RESET ALARMAS |  | COMMAND | ALARMAS_2 | simple | 0 | 0 | 6 | 0 | 1 |  | 0 | 0 | 0x8000 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0