## Sheet1
DIRECCIÓN | Nombre | Tipo Dato | Longitud Word Dato | MODO | Dirección PLC | Valores
ESCRITURA | [6 empty] | IP
ID | SETPOINTS | [5 empty] | KITCONECT IP PLC | 192.168.10.10
0 | PROCESO_AGUA | Int | 1 | IR |  |  | PUERTO PLC | 502
0 | CONTROL_AGUA | Int | 1 | IR |  | StandBy=0 / AUTO=1
1 | NIVEL_DEPÓSITO | Int | 1 | IR
2 | SP_PRESION_BOMBAS | Real | 2 | IR
4 | SP_PRESIÓN_ENFRIADORAS | Real | 2 | IR
6 | SP_FRIO | Real | 2 | IR
8 | SP_REAJUSTE_FRIO | Real | 2 | IR
10 | SP_ALARMA_PRESIÓN_LLENADO | Real | 2 | IR
12 | NIVEL_MAX_DEPÓSITO | Real | 2 | IR
14 | NIVEL_INICIO_MARCHA | Real | 2 | IR
16 | NIVEL_DESACT_LLENADO | Real | 2 | IR
18 | NIVEL_ACT_LLENADO | Real | 2 | IR
20 | NIVEL MINIMO | Real | 2 | IR
22 | P_DIFF_P8P7 | Real | 2 | IR
24 | P_DIFF_P9P10 | Real | 2 | IR
26 | P_DIFF_P4P3 | Real | 2 | IR
28 | P_DIFF_P5P6 | Real | 2 | IR
30 | SP_AVISO_P_DIFF_INTERCAMBIADOR | Real | 2 | IR
32 | SP_ALARMA_P_DIFF_INTERCAMBIADOR | Real | 2 | IR
34 | TPO_ALARMA_P_DIFF_INTERCAMBIADOR | Time | 2 | IR
36 | P_DIFF_P11P9 | Real | 2 | IR
38 | P_DIFF_P11P5 | Real | 2 | IR
40 | P_DIFF_P12P8 | Real | 2 | IR
42 | P_DIFF_P12P4 | Real | 2 | IR
44 | SP_AVISO_P_DIFF_FILTRO_INTERCAMBIADOR | Real | 2 | IR
46 | SP_ALARMA_P_DIFF_FILTRO_INTERCAMBIADOR | Real | 2 | IR
48 | TPO_ALARMA_P_DIFF_FILTRO_INTERCAMBIADOR | Time | 2 | IR
50 | PROCESO_AIRE
50 | CONTROL_AIRE | Int | 1 | IR
51 | CONSIGNA_AIRE | Real | 2 | IR
53 | AJUSTE_SUPERIOR_AIRE | Real | 2 | IR
55 | AJUSTE_INFERIOR_AIRE | Real | 2 | IR
57 | SP_VERANO/INVIERNO | Real | 2 | IR
59 | OFFSET_VERANO/INVIERNO | Real | 2 | IR
61 | SP_VENTILACIÓN | Real | 2 | IR
63 | OFFSET_VENTILACIÓN | Real | 2 | IR
65 | CONSIGNA_9 | Real | 2 | IR
67 | CONSIGNA_10 | Real | 2 | IR
69 | CONSIGNA_11 | Real | 2 | IR
71 | CONSIGNA_12 | Real | 2 | IR
73 | PROCESO_GENERAL
73 | RESERVA_1 | Real | 2 | IR
75 | RESERVA_2 | Real | 2 | IR
77 | RESERVA_3 | Real | 2 | IR
79 | CONTROL_EQUIPOS
79 | COMPRESOR_1 | Int | 1 | IR
80 | COMPRESOR_2 | Int | 1 | IR
81 | SECADOR_1 | Int | 1 | IR
82 | SECADOR_2 | Int | 1 | IR
83 | ENFRIADORA_1 | Int | 1 | IR
84 | ENFRIADORA_2 | Int | 1 | IR
85 | BOMBA_1 | Int | 1 | IR
86 | BOMBA_2 | Int | 1 | IR
87 | BOMBA_3 | Int | 1 | IR
88 | BOMBA_4 | Int | 1 | IR
89 | BOMBA_5 | Int | 1 | IR
90 | BOMBA_6 | Int | 1 | IR
91 | BOMBA_7 | Int | 1 | IR
92 | VENTILACION_AMBIENTE | Int | 1 | IR
93 | ENFRIADORA_3 | Int | 1 | IR
94 | ENFRIADORA_4 | Int | 1 | IR
95 | COMPUERTA_1 | Int | 1 | IR
96 | COMPUERTA_2 | Int | 1 | IR
97 | COMPUERTA_3 | Int | 1 | IR
98 | COMPUERTA_4 | Int | 1 | IR
99 | INTERCAMBIADOR_1_1 | Int | 1 | IR
100 | INTERCAMBIADOR_1_2 | Int | 1 | IR
101 | INTERCAMBIADOR_2_1 | Int | 1 | IR
102 | INTERCAMBIADOR_2_2 | Int | 1 | IR
103 | VALVULA_SECADOR_1 | Int | 1 | IR
104 | VALVULA_SECADOR_2 | Int | 1 | IR
105 | VALVULA_LLENADO | Int | 1 | IR
106 | RESERVA_1 | Int | 1 | IR
107 | RESERVA_2 | Int | 1 | IR
108 | RESERVA_3 | Int | 1 | IR
109 | RESERVA_4 | Int | 1 | IR
110 | ANALOGICAS
110 | PRESION_P1 | Real | 2 | IR
112 | PRESION_P2 | Real | 2 | IR
114 | TEMP_AMBIENTE_T1 | Real | 2 | IR
116 | CAUDALIMETRO_TOTQAC | Real | 2 | IR
118 | CAUDALIMETRO_QAC | Real | 2 | IR
120 | CAUDALIMETRO_TQAC | Real | 2 | IR
122 | CAUDALIMETRO_PQAC | Real | 2 | IR
124 | PRESION_P3 | Real | 2 | IR
126 | PRESION_P4 | Real | 2 | IR
128 | PRESION_P5 | Real | 2 | IR
130 | PRESION_P6 | Real | 2 | IR
132 | PRESION_P7 | Real | 2 | IR
134 | PRESION_P8 | Real | 2 | IR
136 | PRESION_P9 | Real | 2 | IR
138 | PRESION_P10 | Real | 2 | IR
140 | PRESION_P11 | Real | 2 | IR
142 | TEMPERATURA_T1 | Real | 2 | IR
144 | CAUDALIMETRO_Q1 | Real | 2 | IR
146 | CAUDALIMETRO_TQ1 | Real | 2 | IR
148 | TEMPERATURA_T2 | Real | 2 | IR
150 | PRESION_P12 | Real | 2 | IR
152 | CAUDALIMETRO_Q2 | Real | 2 | IR
154 | CAUDALIMETRO_TQ2 | Real | 2 | IR
156 | PRESION_P13 | Real | 2 | IR