## Sheet1
id | register | name | description | system_category | category | view | sampling | read | write | minvalue | maxvalue | unit | offset | addition | mask | value | length | general_icon | alarm | metadata | l10n | tags | type | parameter_write_byte_position | mqtt | json | current_value | current_error_status | notes
1 | 268 | Probe_1 | Probe 1 | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
2 | 269 | Probe_2 | Probe 2 | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
3 | 270 | Probe_3 | Probe 3 | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
4 | 271 | Probe_4 | Probe 4 | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
5 | 256 | Regulation_probe | Regulation probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
6 | 257 | Displayed_probe | Displayed probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
7 | 258 | Defrost_1_probe | Defrost 1 probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
8 | 259 | Defrost_2_probe | Defrost 2 probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
9 | 260 | Evaporator_Fans_probe | Evaporator Fans probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
10 | 261 | Condenser_Fans_probe | Condenser Fans probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
11 | 262 | Temperature_alarm_1_probe | Temperature alarm 1 probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
12 | 263 | Temperature_alarm_2_probe | Temperature alarm 2 probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
13 | 264 | Aux_regulator_probe | Aux regulator probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
14 | 265 | Dynamic_setpoint_control_probe | Dynamic setpoint control probe | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
15 | 266 | Minimum_measured_temperature | Minimum measured temperature | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
16 | 267 | Maximum_measured_temperature | Maximum measured temperature | ANALOG_INPUT |  | basic | 60 | 3 | 0 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
17 | 1545 | AO1:_Air_extraction_Fan_speed | AO1: Air extraction Fan speed | ANALOG_INPUT |  | basic | 60 | 3 | 6 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
18 | 1546 | AO2:_Air_extraction_Fan_speed | AO2: Air extraction Fan speed | ANALOG_INPUT |  | basic | 60 | 3 | 6 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
19 | 1547 | AO1:_Light_dimming_Value | AO1: Light dimming Value | ANALOG_INPUT |  | basic | 60 | 3 | 6 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
20 | 1548 | AO2:_Light_dimming_value | AO2: Light dimming value | ANALOG_INPUT |  | basic | 60 | 3 | 6 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
21 | 1549 | AO1:_Function_vAL_output | AO1: Function vAL output | ANALOG_INPUT |  | basic | 60 | 3 | 6 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
22 | 1550 | AO2:_Function_vAL_output | AO2: Function vAL output | ANALOG_INPUT |  | basic | 60 | 3 | 6 | -270 | 270 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
23 | 1536 | Real_Regulation_SetPoint | Real Regulation SetPoint | SET_POINT |  | simple | 300 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
24 | 1537 | Temperature_SetPoint | Temperature SetPoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
25 | 1538 | High_Temperature_1_SetPoint | High Temperature 1 SetPoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
26 | 1539 | Low_Temperature_1_SetPoint | Low Temperature 1 SetPoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
27 | 1540 | High_Temperature_2_SetPoint | High Temperature 2 SetPoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
28 | 1541 | High_Temperature_2_SetPoint_1 | High Temperature 2 SetPoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
29 | 1542 | Auxiliary_regulator_setpoint | Auxiliary regulator setpoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
30 | 1543 | Evaporator_fan_setpoint | Evaporator fan setpoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
31 | 1544 | Condenser_fan_setpoint | Condenser fan setpoint | SET_POINT |  | simple | 300 | 3 | 16 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
32 | 512 | Device:_ON,_OFF | Device: ON, OFF | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
33 | 513 | Defrost | Defrost | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
34 | 514 | Pull_Down | Pull Down | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
35 | 515 | Energy_Saving | Energy Saving | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
36 | 516 | Temperature_resolution | Temperature resolution | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
37 | 536 | Buzzer_Status | Buzzer Status | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
38 | 600 | Holiday_Mode | Holiday Mode | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
39 | 526 | Light_output | Light output | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
40 | 533 | Auxiliary_output | Auxiliary output | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
41 | 601 | Humidity_Fan_Status | Humidity Fan Status | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
42 | 560 | Real_Time_Clock_available | Real Time Clock available | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
43 | 534 | Sanitization_Status | Sanitization Status | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
44 | 530 | Air_Extraction_Fan_Status | Air Extraction Fan Status | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
45 | 602 | Active_Parameter_Map | Active Parameter Map | STATUS |  | basic | 60 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
46 | 517 | Compressor_output_1 | Compressor output 1 | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
47 | 521 | Defrost_output_1 | Defrost output 1 | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
48 | 518 | Compressor_output_2 | Compressor output 2 | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
49 | 522 | Defrost_output_2 | Defrost output 2 | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
50 | 519 | Solenoid_Output_1 | Solenoid Output 1 | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
51 | 527 | Evaporator_fan_output | Evaporator fan output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
52 | 528 | Evaporator_fan_output_2 | Evaporator fan output 2 | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
53 | 524 | Alarm_output | Alarm output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
54 | 525 | Locked_Man_Alarm_Output | Locked Man Alarm Output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
55 | 531 | Dead_band_output | Dead band output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
56 | 523 | ONOFF_output | ONOFF output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
57 | 535 | Energy_saving_output | Energy saving output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
58 | 529 | Condenser_fan_output | Condenser fan output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
59 | 532 | Heaters_Elements_output | Heaters Elements output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
60 | 520 | Inverter_output | Inverter output | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
61 | 537 | Digital_input_1_status | Digital input 1 status | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
62 | 538 | Digital_input_2_status | Digital input 2 status | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
63 | 539 | Door_input | Door input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
64 | 541 | Defrost_activation_input | Defrost activation input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
65 | 542 | Auxiliary_output_input | Auxiliary output input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
66 | 543 | Energy_saving_input | Energy saving input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
67 | 549 | Warning_input | Warning input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
68 | 550 | Lockout_input | Lockout input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
69 | 551 | PAL_Alarm_input | PAL Alarm input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
70 | 544 | Humidity_fan_input | Humidity fan input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
71 | 545 | Holiday_mode_input | Holiday mode input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
72 | 546 | ONOFF_input | ONOFF input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
73 | 547 | Light_input | Light input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
74 | 540 | Motion_sensor_input | Motion sensor input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
75 | 548 | Parameter_map_change_input | Parameter map change input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
76 | 556 | Sanification_activation_input | Sanification activation input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
77 | 552 | Low_Pressure_Switch_input | Low Pressure Switch input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
78 | 553 | Cell_Cleaning_mode_input | Cell Cleaning mode input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
79 | 554 | Gas_Loss_Warning_input | Gas Loss Warning input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
80 | 555 | Stop-Cooling_input | Stop-Cooling input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
81 | 557 | Trapped_Man_Alarm_input | Trapped Man Alarm input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
82 | 558 | Air_Extraction_Fan_input | Air Extraction Fan input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
83 | 559 | Pull_Down_input | Pull Down input | DIGITAL OUTPUT/INPUT |  | simple | 0 | 4 | 0 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 16bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
84 | 573 | Probe_P1_alarm | Probe P1 alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
85 | 574 | Probe_P2_alarm | Probe P2 alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
86 | 575 | Probe_P3_alarm | Probe P3 alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
87 | 576 | Probe_P4_alarm | Probe P4 alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
88 | 561 | High_temperature_alarm_HA | High temperature alarm HA | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
89 | 562 | Low_temperature_alarm_LA | Low temperature alarm LA | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
90 | 563 | Condenser_high_temperature_warning_HP2 | Condenser high temperature warning HP2 | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
91 | 564 | Condenser_high_temperature_alarm_HA2 | Condenser high temperature alarm HA2 | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
92 | 565 | Condenser_low_temperature_alarm_LA2 | Condenser low temperature alarm LA2 | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
93 | 566 | External_warning_event_EAL | External warning event EAL | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
94 | 567 | External_lockout_Event_BAL | External lockout Event BAL | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
95 | 568 | Pressure_switch_lockout_PAL | Pressure switch lockout PAL | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
96 | 569 | Door_open_alarm | Door open alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
97 | 572 | EEPROM_failure_alarm | EEPROM failure alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
98 | 570 | RTC_alarm | RTC alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
99 | 571 | RTF_alarm | RTF alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
100 | 577 | Clock_Battery_Alarm_bAt | Clock Battery Alarm bAt | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
101 | 578 | Anti-Freeze_Alarm_SAF | Anti-Freeze Alarm SAF | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
102 | 579 | Trapped_Man_Alarm_tPA | Trapped Man Alarm tPA | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
103 | 580 | Trapped_Man_Sensor_Alarm_tME | Trapped Man Sensor Alarm tME | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
104 | 581 | Pump-down_Cycle_Alarm_Pdt | Pump-down Cycle Alarm Pdt | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
105 | 582 | Low_Pressure_Switch_Failure_Alarm_PdA | Low Pressure Switch Failure Alarm PdA | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
106 | 583 | Cell_Cleaning_Mode_CLt | Cell Cleaning Mode CLt | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
107 | 584 | Gas_Sensor_Alarm_GAS | Gas Sensor Alarm GAS | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
108 | 585 | Gas_Sensor_Calibration_Alarm_GAC | Gas Sensor Calibration Alarm GAC | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
109 | 586 | Low_Gas_Sensor_Alarm_GAL | Low Gas Sensor Alarm GAL | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
110 | 587 | High_Gas_Sensor_Alarm_GAH | High Gas Sensor Alarm GAH | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
111 | 588 | Gas_Sensor_Failure_Alarm_GAF | Gas Sensor Failure Alarm GAF | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
112 | 589 | Gas_Sensor_Saturation_Alarm_GSS | Gas Sensor Saturation Alarm GSS | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
113 | 590 | Evaporator_fan_maintenance_alarm | Evaporator fan maintenance alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
114 | 607 | Condenser_fan_maintenance_alarm | Condenser fan maintenance alarm | ALARM |  | simple | 30 | 1 | 0 | 0 | 1 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"high"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
115 | 512 | Device:_ON | Device: ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
116 | 512 | Device:_OFF | Device: OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
117 | 513 | Defrost_Request | Defrost Request | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
118 | 514 | Pull_Down_Activation | Pull Down Activation | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
119 | 515 | Energy_Saving_ON | Energy Saving ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
120 | 515 | Energy_Saving_OFF | Energy Saving OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
121 | 600 | Holiday_Mode_ON | Holiday Mode ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
122 | 600 | Holiday_Mode_OFF | Holiday Mode OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
123 | 526 | Light_output_ON | Light output ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
124 | 526 | Light_output_OFF | Light output OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
125 | 533 | Auxiliary_output_ON | Auxiliary output ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
126 | 533 | Auxiliary_output_OFF | Auxiliary output OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
127 | 534 | Sanitization_ON | Sanitization ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
128 | 534 | Sanitization_OFF | Sanitization OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
129 | 530 | Air_Extraction_ON | Air Extraction ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
130 | 530 | Air_Extraction_OFF | Air Extraction OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
131 | 601 | Humidity_Fan_ON | Humidity Fan ON | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
132 | 601 | Humidity_Fan_OFF | Humidity Fan OFF | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
133 | 592 | Alarm_Muting | Alarm Muting | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
134 | 593 | Evaporator_fan_maintenance_alarm_reset | Evaporator fan maintenance alarm reset | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
135 | 594 | Condenser_fan_maintenance_alarm_reset | Condenser fan maintenance alarm reset | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
136 | 603 | Reset_Device | Reset Device | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
137 | 597 | Reset_Recorded_Temperatures | Reset Recorded Temperatures | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
138 | 602 | Parameter_Map_1 | Parameter Map 1 | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 0 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
139 | 602 | Parameter_Map_2 | Parameter Map 2 | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
140 | 595 | Reset_Pdt_Alarm | Reset Pdt Alarm | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
141 | 596 | Reset_PdA_Alarm | Reset PdA Alarm | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
142 | 598 | Reset_Total_Counters | Reset Total Counters | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0
143 | 599 | Reset_Daily_Counters | Reset Daily Counters | COMMAND |  | simple | 0 | 0 | 5 | 0 | 9999 |  | 0 | 0 | 0 | 1 | 1bit |  | {"severity":"none"} | [] | {"_type":"l10n","default_lang":"en_US","translations":{"en_US":{"name":null,"_type":"languages","description":null}}} | [] | modbus | 0 |  |  | 0 | 0